Maintainable Asset Forms

Commercial Services and Development

Revision 1.0

http://www.utas.edu.au/commercial-services-development/building-works/contractors-and-consultants

This document has been produced for use and reference by all persons and parties involved with undertaking built environment works for the University of Tasmania (e.g. Contractors, Consultants, Project Managers, Facilities Managers, Works / Maintenance Officers).

All effort has been made to simplify or streamline the instructions within this manual. Feedback on its content and assets covered is appreciated and should be directed to Infrastructure Planning and Compliance or provided to the University staff managing the works being undertaken.

Document change log

| Version | Date | Revision |
| --- | --- | --- |
| 1.0 | 09/05/2016 | Supersedes Maintainable Assets – Description Hierarchy |

Contents

Introduction	1

Asset Forms	2

General Instructions	2

Asset Relocation / Storage / Inactive Form	4

Asset Demolition / Disposal Form (External Use Only)	5

Asset Type Nomination Form	6

Building Asset Forms	1

Civil Asset Forms	19

Communications Asset Forms	26

Electrical Asset Forms	27

Fire Asset Forms	49

Hydraulic Asset Forms	69

Gas Asset Forms	115

Mechanical Asset Forms	130

Security Asset Forms	214

Vertical Transportation Asset Forms	219

Research Asset Forms	226

# Introduction

Record of physical infrastructure is important for numerous reasons including legal ones such as the requirement for Form 56 Annual Maintenance Statements, regulatory body requirements and contractually binding commitments.

The legally required maintenance for a building is often stipulated by the Form 46 Schedule of Prescribed Features and Measures issued by a Building Surveyor. In addition to this other acts and regulatory body requirements may apply such as gas and electricity codes. These forms are aimed at ensuring sufficient information and data is provided for meeting these legal requirements and also satisfying University’s policies, frameworks, guidelines and procedures for its facilities and asset management incorporating the built environment.

The University of Tasmania has a reasonable history and many records. The quality of work performed and its record will be viewed, reviewed and used by many University staff and other parties such as Architects, Engineers, Builders, Plumbers, Electricians and HVAC Technicians. Accordingly past work and its record are a factor in future work.

# Asset Forms

## General Instructions

This section details what to put in asset non-specific data fields on the asset data forms.

### Project No. / WR No.

Every issued item of work will have a project number or work request number (WR). Ask the University staff organising the works for this number if you do not know it.

### Site / Building / Room

Location codes are to be used for the identification of University space. These can easily be found on any provided plans or from UTAS SISfm Enquiry at the below website:

https://sisfm.admin.utas.edu.au/SISfm-Enquiry/utas/

Names can be provided however space is limited on the asset data forms making the use of the Universities location codes easier. The University staff organising the works can provide the location codes upon request or explain how to find them in UTAS SISfm Enquiry. Most small works or projects should contain them as part of the works request or project documentation from the University or its consultants.

### Identifier

The identifier is what you, the installer use as an identifier for that asset. The asset must be physically labelled with the same identifier and it must also be present on any as-installed material referencing the asset such as drawings, schematics, head end graphics, and building handbook.

### ARV Cost

This is the known or approximate Asset Replacement Value cost consisting of the supply and installation cost of the asset.

### OH&S Notes

These are to provide warning or information useful to persons required to work on the asset so they can pre-prepare as best as possible prior to assessing and commencing the work. Examples are;

- Ladder required for access

- EWP required for access

- Noise protection required

- Harness required

- Manhole in far corner of room

- Physical containment area (PC1, PC2, etc.)

- Quarantined containment area (QC1, QC2, etc.)

- Located in confined space

### Warranty End Date

This date when the manufacturer’s warranty will expire starting from the warranty commencement date. For lifetime warranties enter 99/99/9999. For items with more than one warranty period enter the longest one noting the shorter one and its coverage in the warranty coverage notes.

### Warranty Coverage

The warranty coverage are notes that refers to what the warranty covers or applies for. Generally, use the manufacturer’s brief wording.

### Asset Life

This is the estimated duration in years of when asset will need replacing either due to total failure or reaching a point of no longer being economic to maintain. A default value for the type of asset is provided in brackets however this should be varied depending on the installation, e.g. corrosive environment, exposed to the weather, AC unit subjected to short cycling.

### University Use Fields

For reference only, University use fields are explained below

Class = Asset Class = eq_class

Group = Asset Category/Group = eq_group

Cat = Asset Group/Type = eq_type

Cat Type = Category Type = category_id

BC (default value) = Budget Centre = dp_id

Cond. = Condition rating, default excellent for new assets = condition

Crit.. = Criticality rating, default provided for asset type = criticality

FMC = Asset FM Contract Category = eq_fmcat

Asset No. = Asset number to be completed when generated

## Asset Relocation / Storage / Inactive Form

| Project No. / WR No. |  |  |  | Date of Change | / / |
| --- | --- | --- | --- | --- | --- |
| Asset Number |  |  |  | Contractor |  |
| Identifier |  |  |  | Relocation | Yes / No |
| New Site |  |  |  | Storage | Yes / No |
| New Building |  |  |  | Inactive | Yes / No |
| New Room |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Notes:

If no change in Site, Building or Room then leave as blank.

Relocation means an asset that has been taken out of service and put back into service in another location.

Storage means an asset that has been taken out of service and stored.

Inactive means a decommissioned asset that has remained in its service location but is no longer in service. E.g. A ceiling mounted heater disconnected.

## Asset Demolition / Disposal Form (External Use Only)

| Project No. / WR No. |  |  |  | Date of Disposal | / / |
| --- | --- | --- | --- | --- | --- |
| Asset Number |  |  |  | Contractor |  |
| Identifier |  |  |  | Disposal Method | Waste / Scrap / Possession |
| General Notes |  |  |  |  |  |

Notes:

For external use only (non-University Staff) when an asset is being disposed of by a contractor for the University.

Waste means sent to landfill

Scrap means salvaged, recycled or melted down

Possession means asset has been retained by contractor

## Asset Type Nomination Form

Generally, the University has created its asset database in-line with legislated Form 46 and other Worksafe maintenance requirements.

Accordingly some assets of reasonable value (over $5,000) may not be captured with the forms in this manual or would be better classified with an asset type of their own for direct assignment of maintenance schedules/programs. If this is the case please fill out the below for the University’s consideration.

Definition:

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Sub assets:

Components:

Attributes:

## Building Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Building Façade	2

External Windows	3

Window Louvre - External	4

Gutters & Downpipes	5

Metal Roof Decking	6

Membrane Roof Coatings	7

Fall Arrest Device – Anchor Points	8

Fall Arrest Device – Static Line	9

Fall Arrest Device – Ladder Anchor	10

Safety Access Walkway	11

Floor Finishes	12

Ceilings	13

Internal Walls	14

Stairwell	15

Balconies	16

Balustrades and Barriers	17

### Building Façade

The façade of a building including, cladding and, parapet.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (60) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / EW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### External Windows

The external windows of a building, excluding glazed louvres

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (60) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / WW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Window Louvre - External

A louvered window, manual or electrically controlled.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  | Room |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (60) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / WW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Gutters & Downpipes

Guttering and downpipes, ending at the ground. Includes flashings.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Metal Roof Decking

Metal roofing.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (45) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / RF |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Membrane Roof Coatings

All membrane types of roof coatings or sealing.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / RF |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Fall Arrest Device – Anchor Points

Definition:

Fall arrest device, anchor point type. One asset per building. Quantity to be provided in notes.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  | Quantity? |  |  |  |

*Room first anchor point is above, below or outside of.

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | SAFESTAT | Asset No. |  |

### Fall Arrest Device – Static Line

Definition:

Fall arrest device, Static Line type

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

*Room it is above, below or outside of.

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | SAFESTAT | Asset No. |  |

### Fall Arrest Device – Ladder Anchor

Definition:

Fall arrest device, ladder anchor

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

*Room it is above, below or outside of.

Component:

|  | Quantity |
| --- | --- |
| Access Strop |  |

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | SAFESTAT | Asset No. |  |

### Safety Access Walkway

Definition:

Walkway located generally on roofs for safer paths of travel to equipment. One asset per building. Quantity to be provided in notes.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  | Length: |  |  |  |

*Room first walkway part is above, below or outside of.

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | SAFESTAT | Asset No. |  |

### Floor Finishes

Floor coverings and finishes.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / FF |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Ceilings

Plaster, acoustic, tiled, timber. All false or suspended ceilings.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / CF |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Internal Walls

All internal walls and their finishes.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / CF |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Stairwell

Stairwell.

One asset per stairwell.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  | Room |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |
| Fire Isolated | Yes / No |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / SC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Balconies

Balconies.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Balustrades and Barriers

Balustrades and barriers as required by the NCC.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  | Room |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / BUILDING FABRIC / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Structural Elements

The structural elements of the building. Columns, beams, trusses, loadbearing walls, foundations etc.

One asset per building.

If undertaking significant works for an existing buildings asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (60) |  |
| --- | --- |
| Fire Rated* | Yes / No |

*If has fired rated elements or parts

University Use:

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BFAB / STRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

## Civil Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Boom Gate - Electric	20

Bollard - Electric	21

Parking Meter	22

Diesel Tank	23

Petrol Tank	24

LPG Tank	25

### Boom Gate - Electric

An electronically controlled vehicle barrier

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Bollard - Electric

An electronically controlled vehicular barrier bollard

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Parking Meter

Parking meters, voucher machines, etc.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Diesel Tank

Definition:

Above or below ground diesel tank

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Installer |  |  |  | Serial No |  |
|  |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Petrol Tank

Definition:

Above or below ground petrol tank

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Installer |  |  |  | Serial No |  |
|  |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### LPG Tank

Definition:

An above ground LPG tank.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Installer |  |  |  | Serial No |  |
|  |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

| Class / Group / Cat / Cat Type |  |  |  | BUILDING / BUILD / CIVIL INFRASTRUCTURE / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

## Communications Asset Forms

Comprising of telecommunications, data, fibre optic and copper reticulation, audio visual systems.

Refer to University of Tasmania ITS requirements website below for further details.

http://www.utas.edu.au/it/communication-technologies/standards

## Electrical Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

High Voltage Reticulation	28

Power Pole	29

Transformer – Pole Mounted	30

Substation - Kiosk	31

Substation – Pad Mount	32

Substation – In Building	33

Generator - Diesel	34

Generator - Solar	35

Generator – Solar-inverter	36

UPS System	37

Switchboard – In Substation	38

Switchboard - Main	39

Switchboard - Distribution	40

Power Factor Correction Unit	41

Lightning Protection System	42

Surge Protection Unit	43

General Power Reticulation	44

General Lighting Reticulation	45

Emergency Lighting & Fire Exit Signs	46

Automatic Door Control Assembly	47

Automatic External Defibrillator	48

### High Voltage Reticulation

Definition:

Cable network used to reticulate High Voltage around a site. One asset per site.

If undertaking significant works for an existing site asset provide value of works on asset form otherwise an asset form for the existing site is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Installer |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ / HIGH VOLTAGE SYSTEM / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | N/A | Asset No. |  |

### Power Pole

Definition:

A vertical pole supporting suspended power or communications cables

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Height (m) |  | Material | Steel/Wood/Concrete |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ HIGH VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECHV | Asset No. |  |

### Transformer – Pole Mounted

Definition:

A high voltage power transformer mounted on a power pole

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Model |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Rating (kVA) |  | Voltage (kV) |  |
| --- | --- | --- | --- |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ HIGH VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECHV | Asset No. |  |

### Substation - Kiosk

Definition:

A substation that is installed in a purpose built enclosure that is not a prefabricated part of the substation.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date* | / / |
| Warranty Coverage* |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*As applies to components.

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Transformer |  |  |
| Switchgear |  |  |

Attributes:

| Rating (kVA) |  | Voltage (kV) |  |
| --- | --- | --- | --- |
| Asset Life (30) |  | SF6 Gas (kg) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ HIGH VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECHV | Asset No. |  |

### Substation – Pad Mount

Definition:

A prefabricated all in one substation.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Model |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Transformer |  |  |
| Switchgear |  |  |

Attributes:

| Rating (kVA) |  | Voltage (kV) |  |
| --- | --- | --- | --- |
| Asset Life (30) |  | SF6 Gas (kg) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ HIGH VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECHV | Asset No. |  |

### Substation – In Building

Definition:

A substation that is fully enclosed in a room that is part of a building.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date* | / / |
| Warranty Coverage* |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*As applies to components

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Transformer |  |  |
| Switchgear |  |  |

Attributes:

| Rating (kVA) |  | Voltage (kV) |  |
| --- | --- | --- | --- |
| Asset Life (30) |  | SF6 Gas (kg) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ HIGH VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECHV | Asset No. |  |

### Generator - Diesel

Definition:

Electricity generator powered by diesel and used for emergency power supply.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building* |  |  |  | Model |  |
| Room | NONE |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Building it is connected to

Connected to Asset:

|  | Identifier |
| --- | --- |
| Switchboard - Distribution |  |
| Switchboard - Main |  |
| Switchboard - Mechanical |  |

Attributes:

| Standby Rating (kVA) |  | Tank Capacity (L) |  |
| --- | --- | --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ GENERATORS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECPREV | Asset No. |  |

### Generator - Solar

Definition:

Photovoltaic (PV) electricity generation system. One asset per inverter string.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST and RECS) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. (start and end) |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  | Number of Panels? |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*The room that it is above, below or outside of

Connected to Asset (one of the below):

|  | Identifier |
| --- | --- |
| Generator – Solar-inverter |  |

Attributes:

| Generation Capacity (kW) |  | Asset Life (25) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ GENERATORS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | ELECPREV | Asset No. |  |

### Generator – Solar-inverter

Definition:

Inverter of a Photovoltaic (PV) electricity generation system.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  | Single or Three Phase? |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected to Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Main / Distribution |  |

Attributes:

| Rating (kW) |  | Asset Life (20) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ GENERATORS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | ELECPREV | Asset No. |  |

### UPS System

Definition:

Uninterruptable power supply. Typically battery or mass based electrical energy storage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Distribution / Main / Mechanical |  |

Attributes:

| Storage Capacity (kVA) |  | Asset Life (10) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ GENERATORS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECPREV | Asset No. |  |

### Switchboard – In Substation

Definition:

Low voltage switchboard contained within a substation that can only be accessed from within it, i.e. High Voltage area.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be University designated

Within Substation:

|  | Identifier |
| --- | --- |
| Substation - Kiosk |  |
| Substation In-Building |  |

Attributes:

| Fault Rating (kVA) |  | Asset Life (35) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECPREV | Asset No. |  |

### Switchboard - Main

Definition:

Fed by the Distribution Service Network Provider (TasNetworks), or, first point of supply for a building, or, first switchboard NOT accessed from within the HV side of a University substation.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

* Identifier to be University designated

**If not within a room then use the room that it is above, below or outside of

Fed from Asset:

|  | Identifier |
| --- | --- |
| Substation – Kiosk / In-Building / Pad Mount; or |  |
| Switchboard – In Substation / Main |  |

Components:

|  | Quantity |
| --- | --- |
| RCDs |  |

Attributes:

| Fault Rating (kVA) |  | Asset Life (35) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECSTAT | Asset No. |  |

### Switchboard - Distribution

Definition:

Any switchboard that is not a SWITCHBOARD - MAIN, or SWITCHBOARD – MECHANICAL, or SWITCHBOARD – IN SUBSTATION

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be University designated

**If not within a room then use the room that it is above, below or outside of

Fed from Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Main / Distribution / Mechanical |  |

Components:

|  | Quantity |
| --- | --- |
| RCDs |  |

Attributes:

| Fault Rating (kVA) |  | Asset Life (35) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECSTAT | Asset No. |  |

### Power Factor Correction Unit

Definition:

Device installed primarily for power factor correction.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Main / Distribution / Mechanical |  |

Attributes:

| Rating (kVA) |  | Asset Life (25) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | ELECPREV | Asset No. |  |

### Lightning Protection System

Definition:

Typically a series of conductors and associated earthing to reduce risk from lightning strike on a building

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECPREV | Asset No. |  |

### Surge Protection Unit

Definition:

Large surge protection device (with or without filter) generally installed in switchboards to divert surges and protect electrical distribution assets. If part of a lightning protection system then include as sub-asset.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Main / Distribution / Mechanical |  |

Attributes:

| Asset Life (25) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECPREV | Asset No. |  |

### General Power Reticulation

Definition:

General electricity reticulation including wiring points, power outlets, etc, one per building.

If undertaking significant works for an existing building asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST)* |  |
| Site |  |  |  | Warranty End Date | / / |
| Building |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Estimated total cost of general power installation.

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | ELECPREV | Asset No. |  |

### General Lighting Reticulation

Definition:

General lighting reticulation, one per building.

If undertaking significant works for an existing building asset provide value of works on asset form otherwise an asset form for the existing building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST)* |  |
| Site |  |  |  | Building |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Estimated total cost of lighting installation

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | ELECPREV | Asset No. |  |

### Emergency Lighting & Fire Exit Signs

Definition:

Exit and emergency lighting for a building.

One asset per building. Provide completed asset form for all works for the University to amend its asset information.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Warranty End Date | / / |
| Building |  |  |  |  |  |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Exit Fittings* |  |  |
| EML Fittings* |  |  |
| Test Switches |  |  |

*One per make/model type, EML fittings to include light fittings with emergency packs.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | ELECSTAT | Asset No. |  |

### Automatic Door Control Assembly

Definition:

Actuators and control system for the automatic or assisted opening of a door.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Fire Mode | Open/Close/Lock | Asset Life (10) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / ELECEQ/ LOW VOLTAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | ELECPREV | Asset No. |  |

### Automatic External Defibrillator

Definition:

A defibrillator mounted within an enclosure that is alarmed on the security system.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / MISCEQ / SAFETY PROTECTION / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | DEFIBSTAT | Asset No. |  |

## Fire Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Fire Indicator Panel	50

Fire Indicator Panel - Sub	51

Fire Alarm Reticulation	52

Fire Alarm VESDA	53

Early Warning Information Systems (EWIS)	54

Fire Sprinkler Reticulation System	55

Fire Sprinkler Valve Box	56

Fire Sprinkler Booster Assembly	57

Fire Pump - Electric	58

Fire Pump - Diesel	59

Gas Suppression System	60

Fire Blankets	61

Fire Extinguishers	62

Fire Hose Reel	63

Fire Hydrant	64

Fire Hydrant Booster Assembly	65

Fire Damper - Intumescent	66

Fire Damper – Fusible Link	67

Fire Door	68

### Fire Indicator Panel

Definition:

Fire Indicator Panel (FIP), reports alarms to a monitoring system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then the room it is outside of

Attributes:

| Number of Zones |  | Asset Life (15) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE DETECTION EQUIPMENT / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATA | Asset No. |  |

### Fire Indicator Panel - Sub

Definition:

Reports to a Fire Indicator Panel, AKA Sub Indicator Panel (SIP)

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Fire Indicator Panel |  |

Attributes:

| Number of Zones |  | Asset Life (15) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE DETECTION EQUIPMENT / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATA | Asset No. |  |

### Fire Alarm Reticulation

Definition:

System of detector heads, sounders, bells, MCPs that connect to an FIP or SIP.

One asset per building. Provide completed asset form for all works for the University to amend its asset information.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Building |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Fire Indicator Panel / Sub |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Smoke Detector |  |  |
| Thermal Detector |  |  |
| Break Glass Alarm |  |  |
| Bell |  |  |
| Sounder |  |  |
| Door Release |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE DETECTION EQUIPMENT / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATA | Asset No. |  |

### Fire Alarm VESDA

Definition:

Very Early Smoke Detection Apparatus. The detector unit.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Fire Indicator Panel / Sub |  |

Attributes:

| Total length of sampling conduits (m) |  | Asset Life (15) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE DETECTION EQUIPMENT / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATA | Asset No. |  |

### Early Warning Information Systems (EWIS)

Definition:

Early warning information system. Intercom system used for evacuation generally located next to or within a Fire Indicator Panel.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Speakers |  |  |
| WIP Phones |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE DETECTION EQUIPMENT / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATA | Asset No. |  |

### Fire Sprinkler Reticulation System

Definition:

System of fire sprinkler heads and pipework.

One asset per building system. Provide completed asset form for all works for the University to amend its asset information.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  |  |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Fire Sprinkler Valve Box |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Pendant Heads |  |  |
| Wall Wetting Heads |  |  |
| High Temperature Heads |  |  |
| Recessed Heads |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Fire Sprinkler Valve Box

Definition:

Sprinkler valve control box

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Fire Sprinkler Booster Assembly

Definition:

Booster for fire sprinklers

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Or room it is located outside of

Attributes:

| Asset Life (30) |  |
| --- | --- |

Connected Asset:

|  | Identifier |
| --- | --- |
| Fire Sprinkler Valve Box |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Fire Pump - Electric

Definition:

Electric booster pump for fire fighting

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Capacity (L/s) |  | Power (kW) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Fire Pump - Diesel

Definition:

Diesel booster pump for fire fighting

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Fuel Tank Capacity (L) |  | Capacity (L/s) |  |
| --- | --- | --- | --- |
| Power (kW) |  | Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Gas Suppression System

Definition:

Gaseous fire suppression system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| System Capacity (kg) |  | Suppression Agent |  |
| --- | --- | --- | --- |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATB | Asset No. |  |

### Fire Blankets

Definition:

All Fire Blankets for the building.

One asset per building. Provide completed asset form for all works for the University to amend its asset information.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Building |  |
| Installer |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Fire Blankets (one per type & size) |  |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

### Fire Extinguishers

Definition:

All Fire Extinguishers for the building

One asset per building. Provide completed asset form for all works for the University to amend its asset information.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Installer |  |  |  |  |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Make/Model | Quantity |
| --- | --- | --- |
| Fire Extinguisher (one per type & size) |  |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

### Fire Hose Reel

Definition:

Fire Hose Reel (FHR)

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Room |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

### Fire Hydrant

Definition:

Hydrant that is used for firefighting, can be attack or feed.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Room |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected to Asset:

|  | Identifier |
| --- | --- |
| Fire Hydrant Booster Assembly |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

### Fire Hydrant Booster Assembly

Definition:

Booster for attack hydrants

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Warranty End Date | / / |
| Room |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

### Fire Damper - Intumescent

Definition:

Intumescent fire damper within ductwork, openings, or surrounding pipework

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Fire Damper – Fusible Link

Definition:

Fusible link fire damper within ductwork or openings

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Fire Door

Definition:

Fire rated door used to maintain fire separation

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / FIREEQ/ FIRE SUPPRESSION EQUIP / FP |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | FIRESTATC | Asset No. |  |

## Hydraulic Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Pump – DHW Circulating	71

Pump – DCW Supply	72

Pump – Sewer	73

Sewer Drainage System	74

Sewer – Septic Tank	75

Sewer – Reed Bed	76

Sewer – Pump Station	77

Stormwater Drainage System	78

Stormwater – First Flush	79

Grease Trap	80

Grease Pit	81

Neutralising Tank	82

Neutralising Pit	83

Sediment Trap	84

Gross Pollutant Trap	85

Backflow Prevention Device - Testable	86

Boiling / Chilled Water Unit	87

Drinking Fountain	88

Safety Shower	89

Safety Eye Wash	90

Safety Shower and Eye Wash	91

Harvested Water System	92

Irrigation Water System	93

Mains Water System	94

Water Treatment System - Chemical	95

Sewer Treatment System - Chemical	96

Recycled Water System	97

Thermostatic Mixing Valve	98

Tempering Valve	99

Hot Water Cylinder Electric	100

Hot Water Cylinder Gas	101

Hot Water Instantaneous Gas	102

Hot Water Instantaneous Electric	103

Hot Water Cylinder Heat Pump	104

Hot Water Heat Pump	105

Hot Water Storage Cylinder	106

Hot Water Exchanger Cylinder	107

Hot Water Solar Collector Evacuated Tube	108

Hot Water Solar Collector Flat Plate	109

Water Filter - Backwash	110

Water Filter - Cartridge	111

Water Filter – Ultraviolet Light	112

Water Filter – Reverse Osmosis	113

Water Filter – Tank	114

### Pump – DHW Circulating

Definition:

A pump used for the circulation of domestic hot water

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Pump – DCW Supply

Definition:

A pump used for the supply of domestic cold water. Potable and non-potable.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | N/A | Asset No. |  |

### Pump – Sewer

Definition:

A pump used for the pumping of sewerage including trade waste.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HYDRSTAT | Asset No. |  |

### Sewer Drainage System

Definition:

Overall sewerage system for a building or site. One asset per site. One asset per building.

If undertaking significant works for an existing building’s or site’s asset provide value of works on asset form otherwise an asset form for the existing building or site is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Site |  |  |  | ARV Cost (ex GST)* |  |
| Building |  |  |  | Installer |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*estimated value is sufficient exact cost not required (though can be provided)

Attributes:

| Capacity (Loading Units) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Sewer – Septic Tank

Definition:

A tank used for the collection and breakdown of waste water before further disposal

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Volume (L) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Sewer – Reed Bed

Definition:

A reed bed used for further breakdown and filtering of wastewater

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Installer |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Volume (L) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Sewer – Pump Station

Definition:

A pit containing a submersible pump for the pumping of sewerage

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Volume (L) |  |
| --- | --- |
| Duty Pressure (kPa) |  |
| Duty Flow (l/s) |  |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HYDRSTAT | Asset No. |  |

### Stormwater Drainage System

Definition:

Overall stormwater system for a building or site. One asset per site. One asset per building.

If undertaking significant works for an existing building’s or site’s asset provide value of works on asset form otherwise an asset form for the existing building or site is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Site |  |  |  | ARV Cost (ex GST)* |  |
| Building |  |  |  | Installer |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*estimated value is sufficient exact cost not required (though can be provided)

Attributes

| Capacity (m2) |  |
| --- | --- |
| Asset Life (50) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / DRAINAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Stormwater – First Flush

Definition:

Device for diverting the first flow or ‘flush’ of stormwater into a debris collection then stormwater rather directly into a rain water harvesting system.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Grease Trap

Definition:

Above ground or under bench trap for reducing the grease and solids of sewerage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Grease Pit

Definition:

Below ground trap for reducing the grease and solids content of sewerage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Neutralising Tank

Definition:

Above ground or below bench tank for the reducing the acidity of sewerage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Neutralising Pit

Definition:

Below ground pit for the reducing the acidity of sewerage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Sediment Trap

Definition:

Above ground or below bench trap for the reducing of sludge or sediment in sewerage.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Gross Pollutant Trap

Definition:

Below ground stormwater filtration device

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Capacity (L) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ DRAINAGE SYSTEMS / PD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRPREV | Asset No. |  |

### Backflow Prevention Device - Testable

Definition:

A testable device requiring periodic maintenance used for the prevention of water flow back into a mains system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Size (diameter mm) |  |
| --- | --- |
| Backflow Device Type | RBT / RAG / PVB / SPVB / RPZD / DCV / RPDA / DCDA / SCTV SCDAT |
| Asset Life (20) |  |

Backflow Device Type Acronyms:

RBT, Registered Break Tank

RAG, Registered Air Gap

PVB, Pressure-type Vacuum-Breaker

SPVB, Spill resistant Pressure-type Vacuum-Breaker

RPZD, Reduced Pressure Zone Device

DCV, Double Check Valve (not dual)

RPDA, Reduce Pressure Detector Assembly

DCDC, Double Check Detector Assembly

SCVT, Single Check Valve Testable

SCDAT, Single Check Detector Assembly Testable

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Boiling / Chilled Water Unit

Definition:

Under or above bench unit that supplies hot, cold or both, potable water

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Drinking Fountain

Definition:

Internal or external drinking fountain / bottle filling station

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Safety Shower

Definition:

A deluge shower

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / MISCEQ / SAFETY PROTECTION / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Safety Eye Wash

Definition:

An eyewash station or fixture

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / MISCEQ / SAFETY PROTECTION / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Safety Shower and Eye Wash

Definition:

A combined safety deluge shower and eyewash station or fixture

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / MISCEQ / SAFETY PROTECTION / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Harvested Water System

Definition:

System consisting of tank and automatic controls for the collection of rainwater for re-use

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |
| Volume (L) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Irrigation Water System

Definition:

System of pipework, sprinklers, sprayers, soakers, valves and controllers for the irrigation of landscaping and grounds.

One asset per site.

If undertaking significant works for an existing site asset provide value of works on asset form otherwise an asset form for the existing site is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | N/A | Asset No. |  |

### Mains Water System

Definition:

Domestic cold and fire mains system connected to TasWater or the sites infrastructure

One asset per site. One asset per building.

If undertaking significant works for an existing site/building asset provide value of works on asset form otherwise an asset form for the existing site/building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Installer |  |
| Building |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (50) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | N/A | Asset No. |  |

### Water Treatment System - Chemical

Definition:

A system that chemically treats water to make it potable, typically chlorine based.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Chemical | Chlorine / Brine |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HYDRSTAT | Asset No. |  |

### Sewer Treatment System - Chemical

Definition:

A system that chemically treats trade waste water, typically to lower its pH with automatic sampling and control.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / DRAINAGE SYSTEM / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | TRWASTAT | Asset No. |  |

### Recycled Water System

Definition:

A system consisting of tank and controls that generates grey or black water.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRSTAT | Asset No. |  |

### Thermostatic Mixing Valve

Definition:

Valve that mixes hot and cold water to supply a set temperature

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HYDRSTAT | Asset No. |  |

### Tempering Valve

Definition:

Valve that mixes hot and cold water to supply an approximate temperature

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRPREV | Asset No. |  |

### Hot Water Cylinder Electric

Definition:

Electric element domestic hot water cylinder

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Components:

|  | No. | Size (kW) |
| --- | --- | --- |
| Element |  |  |

Attributes:

| Asset Life (10) |  | Capacity (kW)* |  |
| --- | --- | --- | --- |
| Volume (L) |  | Cylinder Type | Stainless / Copper / Vitreous Enamel |

*Total capacity, e.g. if 3 x 4.8kW elements then capacity is 14.4kW.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Cylinder Gas

Definition:

Gas fired domestic hot water cylinder

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Volume (L) |  |
| Capacity (kW) |  |
| Gas Type | LPG / Natural |
| Cylinder Type | Stainless / Copper / Vitreous Enamel |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Instantaneous Gas

Definition:

Instant gas fired domestic hot water cylinder

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Capacity (kW) |  |
| Gas Type | LPG / Natural |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Instantaneous Electric

Definition:

Instant electric domestic hot water cylinder

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  | Singe / Three Phase |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Capacity (kW) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Cylinder Heat Pump

Definition:

Heat pump hot water cylinder

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Volume (L) |  |
| Capacity (kW) |  |
| Refrigerant | R |
| Refrigerant Charge (kg) |  |
| Cylinder Type | Stainless / Copper / Vitreous Enamel |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Heat Pump

Definition:

Heat pump hot water unit that doesn’t have storage

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Capacity (kW) |  |
| Refrigerant | R |
| Refrigerant Charge (kg) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Hot Water Storage Cylinder

Definition:

Storage vessel for domestic hot water, no heating elements

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Volume (L) |  |
| Cylinder Type | Stainless / Copper / Vitreous Enamel |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Exchanger Cylinder

Definition:

Storage vessel for domestic hot water with internal coil or heat exchanger

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (10) |  |
| --- | --- |
| Volume (L) |  |
| Cylinder Type | Stainless / Copper / Vitreous Enamel |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRSTAT | Asset No. |  |

### Hot Water Solar Collector Evacuated Tube

Definition:

Evacuated tube collector ‘panel’ for domestic hot water system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (25) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Hot Water Solar Collector Flat Plate

Definition:

Flat panel or plate type collector system for domestic hot water system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Water Filter - Backwash

Definition:

Backwashing water filter

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRPREV | Asset No. |  |

### Water Filter - Cartridge

Definition:

Cartridge based water filter, in-line or other types

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Component:

|  | Quantity | Make | Model |
| --- | --- | --- | --- |
| Filter – Water Cartridge |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HYDRPREV | Asset No. |  |

### Water Filter – Ultraviolet Light

Definition:

Ultraviolet light water filter/treatment

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Component:

|  | Quantity | Make | Model |
| --- | --- | --- | --- |
| Filter – Water UV Lamp |  |  |  |

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Water Filter – Reverse Osmosis

Definition:

Reverse Osmosis filtration unit for potable water (not research). Large fixed unit, not portable.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

### Water Filter – Tank

Definition:

Large water filtration tank. Typically pass through filtration similar to cartridge only larger and often carbon filtration.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Filter Medium | Carbon / Sand |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ/ WATER SUPPLY SYSTEMS / WS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HYDRPREV | Asset No. |  |

## Gas Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Compressor Air	116

Compressed Air Unit	117

Nitrogen Generator	118

Pressure Vessel – Gas	119

Air Receiver	120

Gas Dryer – Desiccant	121

Gas Dryer – Cooler	122

Vacuum Pump	123

Gas Alarm Panel	124

Gas Distribution System	125

Gas Regulator	126

Gas Filter	127

Gas Electronic Safety Control	128

Gas Meter	129

### Compressor Air

Definition:

An air compressor, without integral storage pressure vessel

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

### Compressed Air Unit

Definition:

An air compressor, with integral storage pressure vessel

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not in a room, then the room it is above, below or outside of.

Attributes:

| Working Pressure (kPa) |  |
| --- | --- |
| Volume (L) |  |
| Asset Life (15) |  |

Hazardous Plant Registration Number:

IF HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HAZPSTAT | Asset No. |  |

### Nitrogen Generator

Definition:

A device for producing nitrogen from air

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

### Pressure Vessel – Gas

Definition:

Storage vessel for gas under high pressure that is not integral to gas producing equipment.

Pressure vessels for air to be recorded as Air Receiver

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not in a room, then the room it is above, below or outside of.

Attributes:

| Working Pressure (kPa) |  | Gas Type |  |
| --- | --- | --- | --- |
| Volume (L) |  | Asset Life (15) |  |

Hazardous Plant Registration Number:

IF HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HAZPSTAT | Asset No. |  |

### Air Receiver

Definition:

Storage vessel for compressed air under high pressure.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not in a room, then the room it is above, below or outside of.

Attributes:

| Working Pressure (kPa) |  |
| --- | --- |
| Volume (L) |  |
| Asset Life (15) |  |

Hazardous Plant Registration Number:

IF HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HAZPSTAT | Asset No. |  |

### Gas Dryer – Desiccant

Definition:

A desiccant type dryer for a gas

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

### Gas Dryer – Cooler

Definition:

A gas cooler for drying of the gas, typically refrigeration based cooling system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out Bt |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (15) |  |
| --- | --- |
| Refrigerant | R |
| Refrigerant Charge (kg) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

### Vacuum Pump

Definition:

Suction or vacuum pump

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | GASPREV | Asset No. |  |

### Gas Alarm Panel

Definition:

An alarm panel for the indication of low or no flow of gas.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | N/A | Asset No. |  |

### Gas Distribution System

Definition:

Gas distribution system from TasGas supply or site infrastructure.

One asset per site infrastructure. One asset per building.

If undertaking significant works for an existing buildings or sites asset provide value of works on asset form otherwise an asset form for the existing site or building is not required.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Installer |  |
| Building |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

Attributes:

| Asset Life (30) |  |
| --- | --- |
| Gas Type | LPG / Natural |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASSTAT | Asset No. |  |

### Gas Regulator

Definition:

A distribution regulator for gas pressure. Not, appliance/equipment regulator.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Gas Distribution System Connected to:

| Identifier |  |
| --- | --- |

Attributes:

| Asset Life (15) |  |
| --- | --- |
| Gas Type | LPG / Natural |

University Use

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASSTAT | Asset No. |  |

### Gas Filter

Definition:

A standalone filter for gas, typically only on natural gas installation.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Gas Distribution System Connected to:

| Identifier |  |
| --- | --- |

Attributes:

| Asset Life (15) |  |
| --- | --- |
| Gas Type | LPG / Natural |

University Use

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

### Gas Electronic Safety Control

Definition:

An electronic control system for the shutdown of gas supply.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

*Use the location of the pressure proving or push button

Components:

|  | Location(s)* |
| --- | --- |
| Solenoid Valve(s) |  |
| Fire Panel Signal |  |
| Push Button(s) |  |
| Pressure Proving |  |
| Gas Detector |  |

*Location to be given as the site, building and room (or room that it is outside, above, or below of).

Gas Distribution System Connected to:

| Identifier |  |
| --- | --- |

Attributes:

| Asset Life (15) |  |
| --- | --- |
| Gas Type | LPG / Natural |

University Use

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASSTAT | Asset No. |  |

### Gas Meter

Definition:

Meter for natural gas or lpg requiring maintenance to ensure flow of gas

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not in a room, then the room it is above, below or outside of.

Gas Distribution System Connected to:

| Identifier |  |
| --- | --- |

Attributes:

| Asset Life (15) |  |
| --- | --- |
| Gas Type | LPG / Natural |

University Use

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HYDREQ / RETICULATED GASES / GS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | GASPREV | Asset No. |  |

## Mechanical Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Air Conditioner – Single Split	132

Air Conditioner – Multi-Split	133

Air Conditioner – Variable Refrigerant	134

Indoor Unit – High Wall	135

Indoor Unit – Ducted	136

Indoor Unit – Floor	137

Indoor Unit – Recessed Cassette	138

Indoor Unit – Under Ceiling	139

Duct Coil - DX	140

Filter Assembly	141

Air Handling Unit	142

Header Tank	143

Automatic Refill Unit	144

Dosing Pot or Point	145

Expansion Tank	146

Air Conditioner - Packaged Unit	147

Air Conditioner - Packed Terminal Unit	148

Air Curtain	149

Air Fan - Return	150

Air Fan - Supply	151

Air Fan - Fresh	152

Air Fan – Exhaust – Car Park	153

Air Fan – Exhaust – General	154

Air Fan – Exhaust – Kitchen	155

Air Fan – Exhaust – Fume	156

Air Fan – Exhaust – Chemical	157

Air Fan – Stairwell Pressurisation	158

Air Fan – Exhaust – Smoke Spill	159

Boiler – Electric	160

Boiler – Gas Fired	161

Boiler – Oil Fired	162

Calorifer	163

Chiller – Air Cooled	164

Chiller – Water Cooled	165

Heat Pump – Air Source	166

Heat Pump – Water Source	167

Heat Pump Chiller – Water Cooled	168

Heat Pump Chiller – Air Cooled	169

Circulating Pump	170

Condenser Pump	171

Dedicated Circulating Pump	172

Cooling Tower	173

Hydronic Building Reticulation	174

Evaporative Air Cooler	175

Dry Cooler	176

Extraction System - Dust	177

Fan Coil Unit – High Wall	178

Fan Coil Unit – Ducted	179

Fan Coil Unit – Floor	180

Fan Coil Unit – Recessed Cassette	181

Fan Coil Unit – Under Ceiling	182

Duct Coil - Hydronic	183

Data Centre Floor Mount DX Unit	184

Data Centre Condenser	185

Duct Heater - Electric	186

Duct Heater - Gas	187

Heat Exchanger – Shell & Tube	188

Heat Exchanger – Plate	189

Heat Recovery – Plate	190

Heat Recovery – Wheel	191

Heat Recovery – Unit	192

Heater - Hydronic	193

Heater – Hydronic Floor Coil	194

Heater - Electric	195

Heater – Electric Floor Coil	196

Heater - Gas	197

Heater – Forced Air	198

Humidifier	199

Hydronic Storage Vessel	200

Switchboard - Mechanical	201

Variable Speed Drive	202

VAV Unit	203

Fire Damper - HVAC	204

Smoke Damper - HVAC	205

Constant Temperature Room	206

Cool Room	207

Freezer Room	208

Condenser	209

Evaporator	210

Growth Room or Chamber	211

Fume Cupboard	211

Controller System	212

### Air Conditioner – Single Split

Definition:

Refrigerant split Air Conditioning system with one indoor unit to one outdoor unit

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model (outdoor unit) |  |
| Room* |  |  |  | Serial No. (outdoor unit) |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Fill Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Conditioner – Multi-Split

Definition:

Refrigerant split Air Conditioning system with one outdoor unit and more than one indoor unit. Indoor units cannot have individual modes (i.e. whole system is cooling or heating).

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model (outdoor unit) |  |
| Room* |  |  |  | Serial No. (outdoor unit) |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Conditioner – Variable Refrigerant

Definition:

Refrigerant split Air Conditioning system with one outdoor unit and many indoor units. Use variable refrigerant volume/flow to allow simultaneous heating and cooling operation.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model (outdoor unit) |  |
| Room* |  |  |  | Serial No. (outdoor unit) |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Indoor Unit – High Wall

Definition:

A terminal unit designed to be mounted high on a wall (above 1600 AFFL), provided with refrigerant from a split refrigerant system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Single / Multi / Variable Split |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Indoor Unit – Ducted

Definition:

A terminal unit designed to be concealed with a ceiling space and delivers air via ductwork and diffusers, provided with refrigerant from a split refrigerant system. Includes ‘bulkhead’ units.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Single / Multi / Variable Split |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Indoor Unit – Floor

Definition:

A terminal unit designed to be mounted low on a wall, provided with refrigerant from a split refrigerant system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Single / Multi / Variable Split |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Indoor Unit – Recessed Cassette

Definition:

A terminal unit designed to be recessed into a ceiling and providing up to 4 directions of air flow, provided with refrigerant from a split refrigerant system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Single / Multi / Variable Split |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Indoor Unit – Under Ceiling

Definition:

A terminal unit designed to be surface mounted under a ceiling, provided with refrigerant from a split refrigerant system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Connected Asset:

|  | Identifier |
| --- | --- |
| Single / Multi / Variable Split |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Duct Coil - DX

Definition:

In-duct coil for thermal transfer from refrigerant to air, mounted in ductwork, not part of a ducted or other mass produced unit. Generally paired with a Condenser asset.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Condenser / Split Asset:

|  | Identifier |
| --- | --- |
| Condenser / Split |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Condensate Drain Pump | Yes / No | Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Filter Assembly

Definition:

A filter bank, clips, tray, slot or other physical arrangement that holds a filter or filters. ONLY used when the filters are NOT a component of a unit/asset (i.e. not physically inside or within).

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | Manufacturer |  |
| Site |  |  |  | Model |  |
| Building |  |  |  | Warranty End Date | / / |
| Room |  |  |  | Installer |  |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Filter Assembly’s Parent Asset:

| Asset Type |  | Identifier |  |
| --- | --- | --- | --- |

Components (one of the below only type):

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – Deep Bed |  |  |
| Filter – Electrostatic |  |  |
| Filter – HEPA |  |  |
| Filter – Pleated Media |  |  |
| Filter – Roll Media |  |  |
| Filter – Stainless Wire Mesh |  |  |

Attributes:

| Clean Pressure (Pa) |  | Dirty Pressure (Pa) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Air Handling Unit

Definition:

Large, purpose built or prefabricated panel, single unit for supply of air. Generally floor mounted and comprised of a fan, filters and heating / cooling coils or both.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – Deep Bed |  |  |
| Filter – Electrostatic |  |  |
| Filter – HEPA |  |  |
| Filter – Pleated Media |  |  |
| Filter – Roll Media |  |  |
| Filter – Stainless Wire Mesh |  |  |

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Clean Pressure (Pa) |  | Dirty Pressure (Pa) |  |
| Fire Alarm Operation | On / Off / NA | Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Header Tank

Definition:

Water storage tank used for the provision of gravity powered pressure differential, makeup water and expansion in an open Heating or Cooling Water Building Reticulation System.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Volume (L) |  | Asset Life (30) |  |
| --- | --- | --- | --- |

### Automatic Refill Unit

Definition:

Unit consisting of registered air break tank, fill valve, pressure pump and pressure switch.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Dosing Pot or Point

Definition:

Equipment used for adding of chemical treatment to a Heating, Heat Recovery or Cooling Water Building Reticulation System

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Dosing Water Volume (L) |  | Chemical |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Expansion Tank

Definition:

Pressure vessel used for expansion in a closed Heating or Cooling Water Building Reticulation System.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied hazardous plant registration ID if hazardous plant.

**If not within a room then use the room that it is above, below or outside of

Attributes:

| Volume (L) |  | Asset Life (30) |  |
| --- | --- | --- | --- |

Hazardous Plant Registration Number:

IF HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HAZPSTAT | Asset No. |  |

### Air Conditioner - Packaged Unit

Definition:

Ducted packaged AC unit, typically roof mounted and providing ventilation also with reverse cycle DX, filters, dampers.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – Deep Bed |  |  |
| Filter – Electrostatic |  |  |
| Filter – HEPA |  |  |
| Filter – Pleated Media |  |  |
| Filter – Roll Media |  |  |
| Filter – Stainless Wire Mesh |  |  |

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Clean Pressure (Pa) |  | Dirty Pressure (Pa) |  |
| Fire Alarm Operation | On / Off / NA | Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Air Conditioner - Packed Terminal Unit

Definition:

'Window rattler' or PTAC. Self-contained packaged unit that also includes the distribution outlet/vent

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Curtain

Definition:

Recirculating air curtain with or without heating element

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Fire Alarm Operation | On / Off / NA |
| --- | --- | --- | --- |
| Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Fan - Return

Definition:

A standalone fan that draws return air only

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Fan - Supply

Definition:

A standalone fan that draws a mixture of fresh and return air

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Air Fan - Fresh

Definition:

A standalone fan that draws fresh air only

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Air Fan – Exhaust – Car Park

Definition:

An exhaust fan that does car park exhaust

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Air Fan – Exhaust – General

Definition:

A fan used for general exhaust, such as toilet, utility, kitchenette or change room

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Air Fan – Exhaust – Kitchen

Definition:

A fan connected to a kitchen exhaust hood (not rangehood)

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Air Fan – Exhaust – Fume

Definition:

A fan used for fume extraction or fume extraction systems. Includes fume cupboard fans if not integral.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ/ FUME TREATMENT/VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Air Fan – Exhaust – Chemical

Definition:

A fan used for chemical storage exhaust, generally running 24/7

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ/ FUME TREATMENT/VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Air Fan – Stairwell Pressurisation

Definition:

Fan dedicated to pressurise an area and only operates under fire alarm, typically stairwell to prevent smoke ingress and aid evacuation

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ/ HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Air Fan – Exhaust – Smoke Spill

Definition:

Fan dedicated to smoke spill (exhaust).

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ/ HVAC PLANT / VE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Boiler – Electric

Definition:

Electric element water heater for heating

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (15) |  |

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ/ HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Boiler – Gas Fired

Definition:

Gas fired water heater for heating

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Component (only if ‘gun’ burner):

|  | Manufacturer | Model | Serial No. |
| --- | --- | --- | --- |
| Burner - Gun |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Gas Type | LPG / Natural |
| --- | --- | --- | --- |
| Condensing | Yes / No | Burner | Atmospheric / Forced |
| Number of Burners |  | Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Boiler – Oil Fired

Definition:

Non condensing forced air oil water heater for heating

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Component (only if ‘gun’ burner):

|  | Manufacturer | Model | Serial No. |
| --- | --- | --- | --- |
| Burner - Gun |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Oil Type |  |
| --- | --- | --- | --- |
| Condensing | Yes / No | Burner | Atmospheric / Forced |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Calorifer

Definition:

For UTAS a water immersed coil water to water heat exchanger

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Chiller – Air Cooled

Definition:

Air cooled chiller used for the cooling / heating of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Compressor Type | Reciprocating / Screw / Centrifugal | Magnetic Bearings | Yes / No |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Chiller – Water Cooled

Definition:

Water cooled chiller used for the cooling / heating of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Compressor Type | Reciprocating / Screw / Centrifugal | Magnetic Bearings | Yes / No |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Heat Pump – Air Source

Definition:

Air source heat pump used for only heating only of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Refrigerant Charge (kg) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Magnetic Bearings | Yes / No |
| Compressor Type | Reciprocating / Screw / Centrifugal |  |  |
| Asset Life (15) |  |  |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Heat Pump – Water Source

Definition:

Water source heat pump used for only heating of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Refrigerant Charge (kg) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Magnetic Bearings | Yes / No |
| Compressor Type | Reciprocating / Screw / Centrifugal |  |  |
| Asset Life (15) |  |  |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Heat Pump Chiller – Water Cooled

Definition:

Water cooled chiller used for the cooling and heating of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Compressor Type | Reciprocating / Screw / Centrifugal | Magnetic Bearings | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Heat Pump Chiller – Air Cooled

Definition:

Air cooled chiller used for the cooling and heating of water or glycol.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Compressor Type | Reciprocating / Screw / Centrifugal | Magnetic Bearings | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Circulating Pump

Definition:

A pump used for the circulation of heating, heat recovery or cooling water for building reticulation e.g. secondary side/circuit. Not dedicated boiler/chiller/manifold pumps e.g. primary side/circuit.

If no primary/secondary circuit i.e. just one circuit and pump (or standby / duty) then pump is a circulating pump.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Hydronic Type | Heating / Cooling / Heat & Cool / Heat Recovery |  |  |
| Asset Life (15) |  |  |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Condenser Pump

Definition:

A pump used for the circulation of condenser water or glycol

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Dedicated Circulating Pump

Definition:

A water pump dedicated to a boiler/heat pump chiller/ chiller/manifold, e.g. primary side or single boiler.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Duty Pressure (kPa) |  | Duty Flow (l/s) |  |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Cooling Tower

Definition:

Evaporative cooling tower used for cooling of water

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not within a room then use the room that it is above, below or outside of

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Evaporative Pad - Aspen |  |  |
| Filter – Evaporative Pad - Celdek |  |  |

Attributes:

| Cooling Capacity (kW) |  |
| --- | --- |
| Asset Life (25) |  |

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / EC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Hydronic Building Reticulation

Definition:

Hydronic, meaning use of water as a heat-transfer medium.

Heating, cooling or both, water distribution system within a building. Made up of supply and return pipework, valves, pumps, expansion, makeup water, etc.

One asset per reticulation system i.e. heating water distribution is one asset and cooling water distribution is another. Unless a single set of supply/return pipework does both.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Components:

|  | Quantity |
| --- | --- |
| Air and Dirt Separator |  |
| Strainer |  |
| Isolating valves |  |
| Control valves |  |

Attributes:

| Hydronic Type | Heating / Cooling / Heat & Cool / Heat Recovery |
| --- | --- |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Evaporative Air Cooler

Definition:

Evaporative cooler used for cooling of supply air to condition a room

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Evaporative Pad - Aspen |  |  |
| Filter – Evaporative Pad - Celdek |  |  |

Attributes:

| Cooling Capacity (kW) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / EC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Dry Cooler

Definition:

Outdoor heat exchanger used for cooling of water or glycol with air. Fans are the only active component.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Cooling Capacity (kW) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Extraction System - Dust

Definition:

System of ductwork, gates, connectors, fan and hopper used for saw dust removal.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Belt Components:

|  | Type | Quantity |
| --- | --- | --- |
| Fan Belt(s) |  |  |

Attributes:

| Fire Alarm Operation | On / Off / NA |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Fan Coil Unit – High Wall

Definition:

A terminal unit designed to be mounted high on a wall (above 1600 AFFL), provided with chilled / heated water from a hydronic system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Fan Coil Unit – Ducted

Definition:

A terminal unit designed to be concealed with a ceiling space and delivers air via ductwork and diffusers, provided with chilled / heated water from a hydronic system. Includes ‘bulkhead’ units.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Fan Coil Unit – Floor

Definition:

A terminal unit designed to be mounted low on a wall, provided with chilled / heated water from a hydronic system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Fan Coil Unit – Recessed Cassette

Definition:

A terminal unit designed to be recessed into a ceiling and providing up to 4 directions of air flow, provided with chilled / heated water from a hydronic system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Fan Coil Unit – Under Ceiling

Definition:

A terminal unit designed to be surface mounted under a ceiling, provided with chilled / heated water from a hydronic system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Components:

|  | Quantity |
| --- | --- |
| Filter – Unit Standard |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Duct Coil - Hydronic

Definition:

In-duct coil for thermal transfer from a hydronic system to air, mounted in ductwork, not part of a ducted or other mass produced unit.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) | Include in parent cost |
| Site | Same as parent |  |  | Manufacturer | Same as parent |
| Building | Same as parent |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Condensate Drain Pump | Yes / No | Hydronic Type | Heating / Cooling / Heat & Cool / Heat Recovery |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACSTAT | Asset No. |  |

### Data Centre Floor Mount DX Unit

Definition:

Refrigerant split ACitioning system designed for data centre use with underfloor air distribution. Compressor and evaporator inside internal unit. Also known as CRAC or process cooler.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Cooling Capacity (kW) |  | Refrigerant Charge (kg) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Data Centre Condenser

Definition:

Outdoor condenser connected to Data Centre DX unit, aka CRAC or Process Cooler

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected to Asset:

|  | Identifier(s) |
| --- | --- |
| Data Centre Floor Mounted DX Unit |  |

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACPREV | Asset No. |  |

### Duct Heater - Electric

Definition:

Electric element in-duct heater.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (12) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Duct Heater - Gas

Definition:

Indirect or direct fired gas in-duct heater

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Gas Type | LPG / Natural |
| --- | --- | --- | --- |
| Heat Transfer | Indirect / Direct | Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Heat Exchanger – Shell & Tube

Definition:

Standalone shell and tube heat exchanger used in hydronic systems

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out Bu |  |  |  |  |  |

Attributes:

| Transfer Capacity (kW) |  |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heat Exchanger – Plate

Definition:

Standalone plate heat exchanger used in hydronic systems

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Transfer Capacity (kW) |  |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heat Recovery – Plate

Definition:

Standalone plate heat exchanger used for heat recovery from air

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Transfer Capacity (kW) |  |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heat Recovery – Wheel

Definition:

Standalone wheel heat exchanger used for heat recovery from air

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Transfer Capacity (kW) |  |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heat Recovery – Unit

Definition:

Manufactured heat recovery unit, typically plate type with fan and filters

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – Deep Bed |  |  |
| Filter – Electrostatic |  |  |
| Filter – HEPA |  |  |
| Filter – Pleated Media |  |  |
| Filter – Roll Media |  |  |
| Filter – Stainless Wire Mesh |  |  |

Attributes:

| Transfer Capacity (kW) |  | Asset Life (20) |  |
| --- | --- | --- | --- |
| Fire Alarm Operation | On / Off / NA | Condensate Drain Pump | Yes / No |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heater - Hydronic

Definition:

Hydronic space (room) heater, radiant or natural convection i.e. not fan coil unit.

1 asset per heater.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heater – Hydronic Floor Coil

Definition:

Hydronic space (room) heater floor coil type.

1 asset per floor coil.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Heater - Electric

Definition:

Electric space (room) heater, radiant or convection

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (12) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | - | Asset No. |  |

### Heater – Electric Floor Coil

Definition:

Electric space (room) heater, floor coil type

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (12) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | - | Asset No. |  |

### Heater - Gas

Definition:

Gas space (room) heater, not ducted. Radiant tube or wall mounted.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  | Gas Type | LPG / Natural |
| --- | --- | --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Heater – Forced Air

Definition:

Fix integral fan heater with electric elements used for glass/hot houses or constant temperature rooms only

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Heating Capacity (kW) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / SH |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Humidifier

Definition:

Device that increases air humidity, typically through creation of steam

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Steam Capacity (kg/h) |  |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACSTAT | Asset No. |  |

### Hydronic Storage Vessel

Definition:

Water tank used for the storage of heated or chilled water

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Hydronic Type | Heating / Cooling / Heat & Cool / Heat Recovery |
| --- | --- |
| Volume Capacity (L) |  |
| Asset Life (30) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | - | Asset No. |  |

### Switchboard - Mechanical

Definition:

Mechanical Services Switchboard (MSSB), not a section of a switchboard or chassis

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Fed from Asset:

|  | Identifier |
| --- | --- |
| Switchboard – Mechanical / Main / Distribution |  |

Attributes:

| Fault Rating (kVA) |  | Asset Life (35) |  |
| --- | --- | --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### Variable Speed Drive

Definition:

Variable Speed Drive

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Speed Controls Asset:

| Asset Type | Identifier |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

### VAV Unit

Definition:

VAV Box or Unit. Prefabricated unit with dampers and with or without fan to control air volume primarily for temperature control

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – Deep Bed |  |  |
| Filter – Electrostatic |  |  |
| Filter – HEPA |  |  |
| Filter – Pleated Media |  |  |
| Filter – Roll Media |  |  |
| Filter – Stainless Wire Mesh |  |  |
| Filter – Unit Standard |  |  |

Attributes:

| Heating Capacity (kW) |  | Fire Alarm Operation | On / Off / NA |
| --- | --- | --- | --- |
| Asset Life (20) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / AC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C3 | FMC | HVACPREV | Asset No. |  |

### Fire Damper - HVAC

Definition:

A controlled fire damper (or combined fire & smoke) installed within HVAC ductwork or as part of an HVAC system. Does not include uncontrolled dampers, see Fire Services section for intumescent and fusible link type asset forms.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Smoke Damper - HVAC

Definition:

A smoke damper installed within HVAC ductwork or as part of an HVAC / smoke control system

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Attributes:

| Asset Life (30) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Constant Temperature Room

Definition:

Room fabricated from cool or freezer room panelling. Generally above ten degree operating temperature and can contain a heater or split AC system. Used for research only.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Assets:

| Asset Type | Identifier(s) |
| --- | --- |

Attributes:

| Monitored Alarm | Yes / No |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / TEMP CONTRLD ROOM / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Cool Room

Definition:

Generally 4 degrees or higher temperature. Less insulation than a freezer room, typically 75mm thick.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Assets:

|  | Identifier(s) |
| --- | --- |
| Evaporator |  |
| Condenser |  |

Attributes:

| Monitored Alarm | Yes / No |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / TEMP CONTRLD ROOM / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Freezer Room

Definition:

Generally less than 0 degrees. Typically 150mm thick insulation, slab heating and threshold heater.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Assets:

|  | Identifier(s) |
| --- | --- |
| Evaporator |  |
| Condenser |  |

Attributes:

| Monitored Alarm | Yes / No |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / TEMP CONTRLD ROOM / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Condenser

Definition:

Component that rejects heat, typically the ‘outdoor unit’. Cool and Freezer Rooms only, but can be used with Duct Coil - DX

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Asset (one of the below):

|  | Identifier |
| --- | --- |
| Evaporator |  |
| Ducted Coil - DX |  |

Attributes:

| Heating Capacity (kW) |  | Cooling Capacity (kW) |  |
| --- | --- | --- | --- |
| Refrigerant | R | Refrigerant Charge (kg) |  |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACPREV | Asset No. |  |

### Evaporator

Definition:

Fan coil unit coupled with a Condenser. Component that absorbs heat, used for Cool and Freezer Rooms only.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / HVAC PLANT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACPREV | Asset No. |  |

### Growth Room or Chamber

Definition:

Room fabricated from cool or freezer room panelling. With variable operating temperature and can contain a heater or split AC system. Used for research only.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Assets:

| Asset Type | Identifier(s) |
| --- | --- |

Attributes:

| Monitored Alarm | Yes / No |
| --- | --- |
| Asset Life (25) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / TEMP CONTRLD ROOM / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Fume Cupboard

Definition:

A fume cupboard either ducted or recirculating. Not laminar flow or biosafety cabinets.

Asset Sticker Required: Yes

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room* |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*If not within a room then use the room that it is above, below or outside of

Connected Assets:

|  | Identifier(s) |
| --- | --- |
| Air Fan – Exhaust - Fume |  |

Attributes:

| Variable Speed Sash | Yes / No |
| --- | --- |
| Scrubber | Yes / No |
| Asset Life (10) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / FUME TREATMENT / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HVACSTAT | Asset No. |  |

### Controller System

Definition:

All automated HVAC, Building Management System controls and controllers. A totalised asset for a building to track value and expense. One asset per building.

| Project No. / WR No. |  |
| --- | --- |
| Initial Install Date | / / |
| ARV Cost (ex GST) |  |
| Site |  |
| Building |  |
| Form Filled Out By |  |

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / HVACEQ / BLDING MNGMT SYS / HVAC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C4 | FMC | HVACPREV | Asset No. |  |

## Security Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Surveillance System	215

Security System	216

Lock System	217

Help Point	218

### Surveillance System

Definition:

A totalised asset for a building to track value and expense. One asset per building.

| Project No. / WR No. |  |
| --- | --- |
| Initial Install Date | / / |
| ARV Cost (ex GST)* |  |
| Identifier** |  |
| Site |  |
| Building |  |
| Form Filled Out By |  |

*Cost to be all hardware installed.

**Identifier to be building code, then VMS

Attributes:

| Asset Life (10) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / SECUREQ / SURVEILLANCE SYSTEM / SEC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | SECPREV | Asset No. |  |

### Security System

Definition:

Includes access control and intruder detection. A totalised asset for a building to track value and expense. One asset per building.

| Project No. / WR No. |  |
| --- | --- |
| Initial Install Date | / / |
| ARV Cost (ex GST)* |  |
| Identifier** |  |
| Site |  |
| Building |  |
| Form Filled Out By |  |

*Cost to be all hardware installed.

**Identifier to be building code, then Gallagher. E.g. SB.BE20 Gallagher

Attributes:

| Asset Life (20) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / SECUREQ / SECURITY SYSTEM / SEC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | SECPREV | Asset No. |  |

### Lock System

Definition:

Asset for each registered key system used for locks. May be campus or building level. Includes unmonitored accommodation/hotel style electronic access control systems e.g. Ving/Salto

| Project No. / WR No. |  |  | Initial Install Date | / / |
| --- | --- | --- | --- | --- |
| Identifier* |  |  | ARV Cost (ex GST) |  |
| Site |  |  | Manufacturer |  |
| Building |  |  | Model |  |
| Installer |  |  |  |  |

*As per ProMaster designation.

Attributes:

| Asset Life (25) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / SECUREQ / ACCESS CONTROL / SEC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | N/A | Asset No. |  |

### Help Point

Definition:

Push button self-dialling intercom/phone.

| Project No. / WR No. |  |  | Initial Install Date | / / |
| --- | --- | --- | --- | --- |
| Identifier |  |  | ARV Cost (ex GST) |  |
| Site |  |  | Manufacturer |  |
| Building* |  |  | Model |  |
| Room* |  |  | Installer |  |
|  | Form Filled Out By |  |  |  |

*Room or building that it is directly outside of otherwise leave blank.

Attributes:

| Asset Life (15) |  |
| --- | --- |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / SECUREQ / ALARM SYSTEM / SEC |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | SECPREV | Asset No. |  |

## Vertical Transportation Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Passenger Lift	220

Goods Lift	221

Dumb Waiter	222

Wheelchair Lift	223

Access Hoist	224

Platform Lift	225

### Passenger Lift

Definition:

Lift largely used for vertical transportation of people.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / LIFTS / TS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

### Goods Lift

Definition:

Lift largely used for transportation of goods and people.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / LIFTS / TS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

### Dumb Waiter

Definition:

Lift largely used for vertical transportation of small goods.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / LIFTS / TS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

### Wheelchair Lift

Definition:

Lift / lifting platform used for wheelchair access

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / LIFTS / TS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

### Access Hoist

Definition:

Hoist used for providing increased accessibility of amenities

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / HOISTING EQUIPMENT / TS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

### Platform Lift

Definition:

Lifting platform used for goods, generally in a loading dock

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room** |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

**If not within a room then the room it is directly outside of.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / VTRANEQ / LIFTS / TRANSPORT SYS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | LIFTSTAT | Asset No. |  |

## Research Asset Forms

Refer to Asset Forms General Instructions section before completing these forms.

Laminar Flow Cabinet	227

Bio Safety Cabinet	228

Steriliser	229

### Laminar Flow Cabinet

Definition:

A cabinet that recirculates air to maintain an air barrier between the contents and the room

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – HEPA |  |  |

Attributes:

| Variable Speed Sash | Yes / No |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / FUME TREATMENT / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | CF | Asset No. |  |

### Bio Safety Cabinet

Definition:

A cabinet that recirculates air to maintain an air barrier between the contents and the room

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

Filter Components:

|  | Size (HxWxD mm) | Quantity |
| --- | --- | --- |
| Filter – Activated Carbon |  |  |
| Filter – HEPA |  |  |

Attributes:

| Variable Speed Sash | Yes / No |
| --- | --- |
| Asset Life (15) |  |

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / FUME TREATMENT / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | CF | Asset No. |  |

### Steriliser

Definition:

Sterilizing appliance, includes autoclaves.

| Project No. / WR No. |  |  |  | Install Date | / / |
| --- | --- | --- | --- | --- | --- |
| Identifier* |  |  |  | ARV Cost (ex GST) |  |
| Site |  |  |  | Manufacturer |  |
| Building |  |  |  | Model |  |
| Room |  |  |  | Serial No. |  |
| Installer |  |  |  | Warranty End Date | / / |
| Warranty Coverage |  |  |  |  |  |
| OH&S Notes |  |  |  |  |  |
| General Notes |  |  |  |  |  |
| Form Filled Out By |  |  |  |  |  |

*Identifier to be the UTAS supplied Hazardous plant registration ID.

Hazardous Plant Registration Number:

HAZARDOUS PLANT REGISTRATION PAPERWORK (PRF4 FROM WORKSAFE TASMANIA) MUST BE SUBMITTED WITH THIS ASSET FORM. INSPECTION AND SIGN OFF MUST BE COMPLETED PRIOR TO SUBMISSION.

University Use:

| Class / Group / Cat / Cat Type |  |  |  | PLANT & EQUIP / RESCHEQ / STERILISER EQUIPMENT / - |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BC (775) |  | Cond. | EXCL |  | Crit. | C5 | FMC | HAZPSTAT | Asset No. |  |